## air_protection_kpi
Snam – Sustainability Report 2014
Air protection – Key performance indicators (KPI)
KPI description | KPI date | Pre-set target | Target achieved in 2014 | Sector | Status Activities
No. of DLE turbines out of total no of turbines | 2010 | Achieve 75% by 2015 | 80 | Transportation
No. of DLE turbines out of total no of turbines * | 2010 | Achieve 85% by 2015 | 89 | Storage
Rated NOx emissions on turbine installed capacity | 2010 | Achieve 6 mg/(Nm3 MW) by 2015 | 6.2 | Storage
No. of hours of operation of DLE turbines out of total hours of operation of turbines | 2010 | Achieve 85% by 2015 | 87 | Transportation
Target achieved Activity in progress | Annual target achieved (KPI with targets for more than 1 year) Target not achieved